|  | UL | IEC | Manufacturer | Model/Type | Technical Data, Ratings, etc. | UL CCN | Req. Marks | Other Marks | Standards |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Adhesive |  |  |  |  | Securing _______________________ to __________________________ | MAGW2 | (UL) |  |  |
| Appliance Inlet /Outlet |  |  |  |  | Rated ____ V, ____ A minimum | AXUT2 AXUT RTRT2 ZYVZ2 | UL |  | UL 498 IEC 60309-1 IEC 60309-2 IEC 60320-1 IEC 60320-2-2 |
| Appliance Inlet with Filter (wi/ Fuse Holder) |  |  |  |  | Rated ____ V, ____ A minimum | FOKY2 AXUT2 AYVZ2 | UL |  | UL 1283 UL 498 |
| Battery (Lithium) |  |  |  |  | Rated ______ V, rated _____ max charging current. Protected by _____ and _______ (or current limiting component R/C (NWGQ2) __________________) | BBCV2 | UL |  | UL 1642 |
| Battery Pack (Lithium) |  |  |  |  | Rated _____ V, approximately ______ mAh Abusive Charge Current: _________mA Abusive Charge Voltage: _________V | BBFS(2) | UL |  | UL 2054 |
| Battery (Standard) (Lead-Acid) |  |  |  |  | Rated _____ V, approximately ______ mAh | BAZR2 |  |  | UL1989 UL2054 |
| Battery Charger (Non-Medical) |  |  |  |  | Rated ____ V, _____ A | BBGQ2 BBML2 BBHZ | UL |  |  |
| Bridge Rectifier |  |  |  |  | Rated _____ Vrms, _____ A | QQQX2 | UL |  | UL 1557 |
| Bushing |  |  |  |  |  | NZMT2 | (UL) |  |  |
| Cable Ties |  |  |  |  |  | ZODZ2 | (UL) |  | UL 1565 |
| Capacitor (X-Type, Y-Type) Y1 = Double Insulated |  |  |  |  | Rated ______ uF, ______ V | FOWX2 | (UL) |  | UL 1414 IEC 60384-14 |
| Capacitor (General) |  |  |  |  | Rated ______ uF, ______ V | CYWT2 |  |  |  |
| CD-ROM Drive |  |  |  |  | Rated ____ V, _____ A | NWGQ2 |  |  | UL 60950 IEC 60950 |
| Circuit Breaker (Supplementary protector) |  |  |  |  | Rated ____ V, _____ A | QVNU QVNU2 | UL |  | UL 1077 IEC 60934 |
| Circuit Breaker |  |  |  |  | Rated ____ V, _____ A | DIHS2 DKPU2 DKUY2 | UL |  |  |
| Computer (IT) Equipment And accessories |  |  |  |  | Rated ____ V, _____ A | NWGQ NWGQ2 | (UL) |  | UL 60950 IEC 60950 |
| Conductive Coating |  |  |  |  |  | QMRX2 | UL |  | UL 746 |

| Object/Part | UL | IEC | Manufacturer | Model/Type | Technical Data, Ratings, etc. | UL CCN | Req. Marks | Other Marks | Standards |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Conductive Coating |  |  |  |  |  | QMRX2 | UL |  | UL 746 |
| Conformal Coating |  |  |  |  |  | QMJU2 |  |  |  |
| Connector |  |  |  |  | Rated ____ V, _____ A | RTRT2 ECBT2 RFWV2 | (UL) |  |  |
| Contactors |  |  |  |  | Rated ____ V, _____ A | NRNT2 | (UL) |  |  |
| Crimp Connectors |  |  |  |  | Crimped-on closed-loop or spade connectors for securing under screw terminals or quick-disconnect type connectors with positive detent | ZMVV2 | (UL) |  | UL 486 |
| DC-DC Converter |  |  |  |  | Rated ____ V, _____ A Provided with Triple insulated wire on input/output windings of torroid (UL 1446) | PIDF2 NWGQ2 QQHM2 QQGQ2 | (UL) |  | UL/IEC 60601-1 UL/IEC 60950 |
| Diode |  |  |  |  | Rated _____ V, _____ A | QQQX2 | (UL) |  | UL 1557 |
| Enclosure (Polymeric) |  |  |  |  | Overall _____ cm by _____ cm by _____ cm, ______ mm thick. Rated minimum V-____ flame rating. | QMFZ2 | (UL) |  | UL 94 |
| Enclosure (Material) |  |  |  |  | Overall _____ cm by _____ cm by _____ cm, ______ mm thick. |  |  |  |  |
| Fan |  |  |  |  | Rated ____ V, _____ A, _____ CFM | GPWV2 | UL |  | UL 507 IEC 60335 IEC 60950 |
| Filter (EMI/RFI) |  |  |  |  | Rated ____ V, _____ A | FOKY FOKY2 | UL, CENELEC |  | UL 1283 IEC 60384-14 |
| Foam |  |  |  |  |  | QMFZ2 | (UL) |  |  |
| Fuse |  |  |  |  | Rated ______A, _____ V. Provided in Line and Neutral | JDYX JDYX2 | UL, CENELEC |  | UL 248 IEC 60127 |
| Fuse holder |  |  |  |  | Rated ____ V, _____ A | IZLT2 JAMZ2 | (UL) |  | UL 512 IEC 60127-6 |
| Heater |  |  |  |  | Rated ____ V, _____ A | KSOT2 | (UL) |  |  |
| Heating Elements |  |  |  |  | Rated ____ V, _____ A | UBJY2 | (UL) |  |  |
| Insulator |  |  |  |  |  | QMFZ2 | (UL) |  |  |

| Object/Part | UL | IEC | Manufacturer | Model/Type | Technical Data, Ratings, etc. | UL CCN | Req. Marks | Other Marks | Standards |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Interconnect cable (External - ELV/SELV/TNV) |  |  |  |  |  | AVLV2 | (UL) |  | UL 758 |
| Interconnect cable (External – hazardous voltage |  |  |  |  |  | AVLV2 ZJCZ | UL |  | UL 758 UL 62 IEC 60227 IEC 60245 |
| Labels |  |  |  |  | Construction : (Adhesive, Base, Ink, Overlay material) | PGDQ2 | UL |  | UL 969 |
| Laser Module |  |  |  |  |  | NWGQ2 | (UL) | FDA (CDRH) | UL 60950 IEC 60950 IEC 60825-1 IEC 60825-2 IEC 60601-2-22 |
| LED |  |  |  |  | Colors _______________________ , Not LASER diode |  |  |  | IEC 60825-1 (LASER) |
| Monitor (LCD) (IT, Medical) |  |  |  |  | Rated ____ V, _____ A | NWGQ2 PIDF PIDF2 | (UL) |  | UL 60950 UL 60601-1 |
| Motor (Construction Only) |  |  |  |  |  | PRGY2 | (UL) |  | UL 1004 IEC 60034 |
| Motor (Impedance Protected) |  |  |  |  | Rated ____ V, _____ A | XEIT2 | (UL) |  | UL 2111 |
| Motor Start Capacitor |  |  |  |  | Rated ____ V, _____ uF | CYWT CYWT2 | (UL) |  |  |
| Optical isolator |  |  |  |  | Rated _____ kV dielectric minimum with at least _____ mm between pins on opposite sides of chip | FPQU2 | UL |  | UL 1577 IEC 60747-5 VDE 884 |
| Plugs & Socket-(Hospital Grade) |  |  |  |  |  | RTRT | UL |  | UL 498 IEC 60884 IEC 60309-1 IEC 60309-2 |
| Power Supply (Internal) (Brick) (Direct Plug-in) |  |  |  |  | Rated: _______ V, ______ Hz, _____ A Output: _______V, _______A | QQHM2PIDF PIDF2 | UL |  | UL 60601-1 IEC/UL 60950 UL 1310 |
| Power supply cords (US, Canada) |  |  |  |  |  | ELBZ | UL |  | UL 817 |
| Power supply cords (International) |  |  |  |  |  |  | KAM (known agency mark) |  | IEC 60799 CENELEC HD-21 |
| Power Supply Cord (Danish) |  |  |  |  | Plugs: DK 2-la, DK 2-la with flat phase pin or DK 2-5a. |  | KAM (known agency mark) |  | DK 2-la or DK 2-5a |
| PTC Thermistor Device |  |  |  |  | Rated _________________________ | XGPU2 | (UL) |  | UL 1434 |
| PWB |  |  |  |  |  | ZPMV2 | UL |  | UL 796 IEC 60603-2 |

| Object/Part | UL | IEC | Manufacturer | Model/Type | Technical Data, Ratings, etc. | UL CCN | Req. Marks | Other Marks | Standards |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Relay (control, manual, time delay) |  |  |  |  | Rated _____ V coil, ____ V, _____ A, ( _____ HP) contact | NLDX2 NRNT2 NLRV2 NKCR2 | (UL) |  | UL 508 IEC 60255 IEC 60730-2-10 IEC 60947 IEC 61810 IEC 61811 IEC 61812 |
| Relay (solid state) |  |  |  |  | Rated _____ V activation, ____ V, _____ A, ( _____ HP) contact | NMFT2 FPQU2 | (UL) |  | UL 1577 IEC 60747-5 |
| Relay Socket |  |  |  |  | Rated ____ V, _____ A | SWIV2 | (UL) |  |  |
| Resistor |  |  |  |  | Rated _____ Watts, _____ Ohms |  |  |  |  |
| Shrink Tubing |  |  |  |  | Rated ____ V | YDPU2 | (UL) |  | UL224 |
| Sleeving |  |  |  |  | Rated ____ V | UZFT2 | (UL) |  |  |
| Solenoid |  |  |  |  | Rated ____ V, _____ A | VAIU2 | (UL) |  |  |
| Strain Relief |  |  |  |  |  | NZMT2 QCRV | UL |  | UL 514B |
| Surge Suppressor |  |  |  |  | Breakdown Voltage _______V. Providing minimum _____ mm spacing across nonconductive body. | XUHT2 |  |  | UL 1449 |
| Switch (Interlock) |  |  |  |  | Rated ____ V, _____ A | WOYR WOYR2 | UL |  | UL 61058 IEC 61020 IEC 61058 |
| Switch (Power) |  |  |  |  | Rated ____ V, _____ A | WOYR WOYR2 NRNT2 | UL, KAM |  | UL 61058 IEC 60669 IEC 61020 IEC 61058 |
| Switch (Voltage selector) |  |  |  |  | Rated ____ V, _____ A | WOYR WOYR2 | UL, KAM |  | UL 61058 IEC 61020 IEC 61058 |
| Tape (Insulating) |  |  |  |  |  | OANZ2 | (UL) |  |  |
| Terminal block (Internal wiring) (Field wiring) |  |  |  |  | Rated ____ V, _____ A | XCFR2 | UL |  | UL 1059 IEC 60947-7 |
| Thermal cutoff (thermal-link) |  |  |  |  | Rated _______________________ | XCMQ2 | (UL) |  | UL 1020 IEC 60691 |
| Thermal protector (for motors) |  |  |  |  | Rated _______________________ | XEWR2 | (UL) |  | IEC 60730 |
| Thermistor |  |  |  |  | Rated _______________________ | XGPU2 | (UL) |  | UL 1434 |
| Thermostat |  |  |  |  | Rated _______________________ | XAPX2 | UL |  |  |

| Object/Part | UL | IEC | Manufacturer | Model/Type | Technical Data, Ratings, etc. | UL CCN | Req. Marks | Other Marks | Standards |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Transformer (Lock, Overload Protection) |  |  |  |  | Rated ____ V, _____ A | PIDF2 XPTQ2 NWGQ2 XODW2 FGQS2 XOKV2 | (UL) |  | UL 60601 UL 506 UL 1950 IEC 60044 IEC 60076 IEC 60742 IEC 60950 IEC 60989 IEC 61050 IEC 61558 |
| Transformer (construction only) |  |  |  |  |  | XORU2 | (UL) |  |  |
| Transient Voltage Surge Suppressor |  |  |  |  |  | XUHT2 | UL |  | UL 1449 |
| Transistor |  |  |  |  | Rated _______________________ | QQQX2 |  |  |  |
| Triac |  |  |  |  | Rated _______________________ | QQQX2 | (UL) |  | UL 1557 |
| Tubing |  |  |  |  |  | YDPU2 | (UL) |  |  |
| Valves |  |  |  |  | Rated _______________________ | YIOZ2 | (UL) |  |  |
| Varistor (VOM) |  |  |  |  | Rated _______________________ | XUHT2 FOWX2 | (UL) |  |  |
| Wire |  |  |  |  | Rated _______________________ | AVLV2 | (UL) |  | UL 758 |